## Sheet1
Integrated Site Test Report
Customer: |  |  |  | Location:
Site ID | 0 |  |  | Address 1 | 0
Customer | 0 |  |  | City | 0 | 0 | 0
Meter Data |  |  |  | CT Data
SN | Meter No | Form |  | Tag No. |  | Serial No. |  | Type |  | Ratio : 5
0 | 0 | 0 |  | CT Phase A |  | 0 |  | 0 |  | 0
kH | Multiplier | Type |  | CT Phase B |  | 0 |  | 0 |  | 0
0 | 0 | 0 |  | CT Phase C |  | 0 |  | 0 |  | 0
Service Type
0
Customer Load Test Data
Phase | Volts | Volts Ɵ | Amperes | Amps Ɵ | Phase | VAhr | Whr | VARhr
A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 |  | 0 |  |  | 0 | 0 | 0
Power Factor |  | 0
CT Ratio Accuracy Test
| Primary | Secondary | Measured | Nameplate | Ratio | Phase
Phase | Amps | Amps | Ratio : 5 | Ratio : 5 | Error % | Error Deg
A | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0
B | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0
C | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0
Customer Load Accuracy Test
kH | Revs | Time | Reg
Wh/pulse | or Pulses | Seconds | Percent
0 | 0 | 0 | 0
Phantom Load Accuracy Test
Label | kH | Revs | Time | Reg
| Wh/pulse | or Pulses | Seconds | Percent
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
Tested By | [5 empty] | Time and Date |  |  | Reference Standard
0 | [5 empty] | 0 |  |  | 0
0

## Data
Site Description
SiteID | SiteDescription_Key | Locator | TestDate | PercentRegistration | Customer | AccountNumber | Address1 | Address2 | City | State | Zip | PrimaryVoltage | BillingMultiplier | CT_A_Key | CT_B_Key | CT_C_Key | CT_A_SN | CT_B_SN | CT_C_SN | PT_A_Key | PT_B_Key | PT_C_Key | PT_A_SN | PT_B_SN | PT_C_SN | Meter_Key | MeterSN | AMR_Key | AMR_SN | Enabled | LastModified | MeterNumber | Country | NextTest | Substation | CommunicationID | CustomField1 | CustomField2 | TestSetup_Key | ServiceTypeFileName | Kt | MeterNetworkAddress | Instructions | Telephone | CustomField3 | CustomField4 | CustomField5 | CustomField6 | CustomField7 | CustomField8 | CustomField9 | CustomField10 | CustomField11 | CustomField12 | CustomField13 | CustomField14 | CustomField15 | CustomField16 | CustomField17 | CustomField18 | CustomField19 | CustomField20 | CustomField21 | CustomField22 | CustomField23 | CustomField24 | CustomField25 | CustomField26 | CustomField27 | CustomField28 | CustomField29 | CustomField30 | CustomField31 | CustomField32 | CustomField33 | CustomField34 | CustomField35 | CustomField36 | CustomField37 | CustomField38 | CustomField39 | CustomField40 | CustomField41 | CustomField42 | CustomField43 | CustomField44 | CustomField45 | CustomField46 | CustomField47 | CustomField48 | CustomField49 | CustomField50 | CustomField51 | CustomField52 | CustomField53 | CustomField54 | CustomField55 | CustomField56 | CustomField57 | CustomField58 | CustomField59 | CustomField60 | InternallyAltered | Service | MeterForm
Master Test Record
MasterTestRecord_Key | SiteID | TechName1 | TechName2 | Comment | DataFile | AnalyzerSN | CalibrationDate | Created | LastModified | TimeZoneBiasMinutes | SiteDescription_Key | UTS11 | UTS12 | UTS13 | UTS21 | UTS22 | UTS23 | UTS31 | UTS32 | UTS33 | UTS41 | UTS42 | UTS43 | UTS51 | UTS52 | UTS53 | UTS61 | UTS62 | UTS63 | UTS71 | UTS72 | UTS73 | UTS81 | UTS82 | UTS83 | UTS91 | UTS92 | UTS93 | UTS101 | UTS102 | UTS103 | UTS111 | UTS112 | UTS113 | UTS121 | UTS122 | UTS123 | UTS131 | UTS132 | UTS133 | UTS141 | UTS142 | UTS143 | UTS151 | UTS152 | UTS153 | UTS161 | UTS162 | UTS163 | UTS171 | UTS172 | UTS173 | UTS181 | UTS182 | UTS183 | UTS191 | UTS192 | UTS193 | UTS201 | UTS202 | UTS203
Meter
Meter_Key | Manufacturer | Model | CatalogNumber | AccuracyClass | Type | Class | TestAmpsHi | TestAmpsLo | MeterForm | Voltage | Frequency | DemandPeriod | Enabled | LastModified | Kt | Imax | I_n | Ist | Style
CT
CT_Key | Manufacturer | Model | CatalogNumber | AccuracyClass | BurdenClass | NameplateRatio | RatingFactor | Enabled | LastModified
PT
PT_Key | Manufacturer | Model | CatalogNumber | AccuracyClass | BurdenClass | NameplateRatio | RatedVoltage | Enabled | LastModified
Customer Load
MasterTestRecord_Key | MeterTestGroup_Key | TestIndex | MeterTestMaster_Key | TimeTestBegan | TimeTestSaved | PhantomLoadSetup_Key | EnergyTestMode | TestSeconds | PulseCount | Kt | ExternalPulseCount | DemandIntervalInMinutes | UseInternalPulser | MeterTestMaster_Key1 | Index | DateTime | TimeSeconds | MeasuredPulses | Voltage | Current | W | VA | VAR | PF | PercentRegistration | Label | Passed | BasicTestData_Key | MasterTestRecord_Key1 | MeterTestMaster_Key2 | RecordDateTime | Frequency | VDesignator_A | VDesignator_B | VDesignator_C | IDesignator_A | IDesignator_B | IDesignator_C | VRMS_A | VRMS_B | VRMS_C | VRMS_N | IRMS_A | IRMS_B | IRMS_C | IRMS_N | VPhase_A | VPhase_B | VPhase_C | IPhase_A | IPhase_B | IPhase_C | PF_A | PF_B | PF_C | Watts_A | Watts_B | Watts_C | VA_A | VA_B | VA_C | VAR_A | VAR_B | VAR_C | Q_A | Q_B | Q_C | VTHD_A | VTHD_B | VTHD_C | ITHD_A | ITHD_B | ITHD_C | VSys | ISys | WattsSys | VASys | VARSys | QSys | VMode | IMode | WMode | VAMode | VARMode | VARSysMode | PFMode | DataMode | ConnectionView | EXTPULSE1Phase | EXTPULSE1Mode | EXTPULSE1Value | EXTPULSE2Phase | EXTPULSE2Mode | EXTPULSE2Value | EXTPULSE3Phase | EXTPULSE3Mode | EXTPULSE3Value | VRMS_AB | VRMS_BC | VRMS_CA | VPhase_AB | VPhase_BC | VPhase_CA | IPhase_AB | IPhase_BC | IPhase_CA
Phantom Load FL
MasterTestRecord_Key | MeterTestGroup_Key | TestIndex | MeterTestMaster_Key | TimeTestBegan | TimeTestSaved | PhantomLoadSetup_Key | EnergyTestMode | TestSeconds | PulseCount | Kt | ExternalPulseCount | DemandIntervalInMinutes | UseInternalPulser | MeterTestMaster_Key1 | Index | DateTime | TimeSeconds | MeasuredPulses | Voltage | Current | W | VA | VAR | PF | PercentRegistration | Label | Passed | BasicTestData_Key | MasterTestRecord_Key1 | MeterTestMaster_Key2 | RecordDateTime | Frequency | VDesignator_A | VDesignator_B | VDesignator_C | IDesignator_A | IDesignator_B | IDesignator_C | VRMS_A | VRMS_B | VRMS_C | VRMS_N | IRMS_A | IRMS_B | IRMS_C | IRMS_N | VPhase_A | VPhase_B | VPhase_C | IPhase_A | IPhase_B | IPhase_C | PF_A | PF_B | PF_C | Watts_A | Watts_B | Watts_C | VA_A | VA_B | VA_C | VAR_A | VAR_B | VAR_C | Q_A | Q_B | Q_C | VTHD_A | VTHD_B | VTHD_C | ITHD_A | ITHD_B | ITHD_C | VSys | ISys | WattsSys | VASys | VARSys | QSys | VMode | IMode | WMode | VAMode | VARMode | VARSysMode | PFMode | DataMode | ConnectionView | EXTPULSE1Phase | EXTPULSE1Mode | EXTPULSE1Value | EXTPULSE2Phase | EXTPULSE2Mode | EXTPULSE2Value | EXTPULSE3Phase | EXTPULSE3Mode | EXTPULSE3Value | VRMS_AB | VRMS_BC | VRMS_CA | VPhase_AB | VPhase_BC | VPhase_CA | IPhase_AB | IPhase_BC | IPhase_CA
100
Phantom Load FL PF
MasterTestRecord_Key | MeterTestGroup_Key | TestIndex | MeterTestMaster_Key | TimeTestBegan | TimeTestSaved | PhantomLoadSetup_Key | EnergyTestMode | TestSeconds | PulseCount | Kt | ExternalPulseCount | DemandIntervalInMinutes | UseInternalPulser | MeterTestMaster_Key1 | Index | DateTime | TimeSeconds | MeasuredPulses | Voltage | Current | W | VA | VAR | PF | PercentRegistration | Label | Passed | BasicTestData_Key | MasterTestRecord_Key1 | MeterTestMaster_Key2 | RecordDateTime | Frequency | VDesignator_A | VDesignator_B | VDesignator_C | IDesignator_A | IDesignator_B | IDesignator_C | VRMS_A | VRMS_B | VRMS_C | VRMS_N | IRMS_A | IRMS_B | IRMS_C | IRMS_N | VPhase_A | VPhase_B | VPhase_C | IPhase_A | IPhase_B | IPhase_C | PF_A | PF_B | PF_C | Watts_A | Watts_B | Watts_C | VA_A | VA_B | VA_C | VAR_A | VAR_B | VAR_C | Q_A | Q_B | Q_C | VTHD_A | VTHD_B | VTHD_C | ITHD_A | ITHD_B | ITHD_C | VSys | ISys | WattsSys | VASys | VARSys | QSys | VMode | IMode | WMode | VAMode | VARMode | VARSysMode | PFMode | DataMode | ConnectionView | EXTPULSE1Phase | EXTPULSE1Mode | EXTPULSE1Value | EXTPULSE2Phase | EXTPULSE2Mode | EXTPULSE2Value | EXTPULSE3Phase | EXTPULSE3Mode | EXTPULSE3Value | VRMS_AB | VRMS_BC | VRMS_CA | VPhase_AB | VPhase_BC | VPhase_CA | IPhase_AB | IPhase_BC | IPhase_CA
Phantom Load LL
MasterTestRecord_Key | MeterTestGroup_Key | TestIndex | MeterTestMaster_Key | TimeTestBegan | TimeTestSaved | PhantomLoadSetup_Key | EnergyTestMode | TestSeconds | PulseCount | Kt | ExternalPulseCount | DemandIntervalInMinutes | UseInternalPulser | MeterTestMaster_Key1 | Index | DateTime | TimeSeconds | MeasuredPulses | Voltage | Current | W | VA | VAR | PF | PercentRegistration | Label | Passed | BasicTestData_Key | MasterTestRecord_Key1 | MeterTestMaster_Key2 | RecordDateTime | Frequency | VDesignator_A | VDesignator_B | VDesignator_C | IDesignator_A | IDesignator_B | IDesignator_C | VRMS_A | VRMS_B | VRMS_C | VRMS_N | IRMS_A | IRMS_B | IRMS_C | IRMS_N | VPhase_A | VPhase_B | VPhase_C | IPhase_A | IPhase_B | IPhase_C | PF_A | PF_B | PF_C | Watts_A | Watts_B | Watts_C | VA_A | VA_B | VA_C | VAR_A | VAR_B | VAR_C | Q_A | Q_B | Q_C | VTHD_A | VTHD_B | VTHD_C | ITHD_A | ITHD_B | ITHD_C | VSys | ISys | WattsSys | VASys | VARSys | QSys | VMode | IMode | WMode | VAMode | VARMode | VARSysMode | PFMode | DataMode | ConnectionView | EXTPULSE1Phase | EXTPULSE1Mode | EXTPULSE1Value | EXTPULSE2Phase | EXTPULSE2Mode | EXTPULSE2Value | EXTPULSE3Phase | EXTPULSE3Mode | EXTPULSE3Value | VRMS_AB | VRMS_BC | VRMS_CA | VPhase_AB | VPhase_BC | VPhase_CA | IPhase_AB | IPhase_BC | IPhase_CA
CT Test
CTTestMaster_Key | MasterTestRecord_Key | DateTime | Phase | PrimaryProbe | PrimaryProbeSN | SecondaryProbe | SecondaryProbeSN | CTTestMode | CTTestMaster_Key1 | Burden | PrimaryAmps | SecondaryAmps | PhaseShift | Ohms | NameplateRatio
PT Test
#DIV/0!

## LUT
Energy Test Value | Energy Test String | 1 | Get Divisor (Kt)
0 | VARh | FALSE | Get Numerator
1 | VAh
2 | Wh